## Sheet1
Voltage level | Threshold limit of Rooftop Solar PV System
230/240 V(l CD) | Less than 8 kW/40 A
S.NO | Month | Energy Consumption for Last 1 Year
1 | May | 250
2 | June | 325
3 | July | 250
4 | August | 220
5 | September | 270
6 | October | 290
7 | November | 360
8 | December | 230
9 | January | 210
10 | February | 160
11 | March | 280
12 | April | 300
13 | May | 300
| Total | 3445
| Total Energy Bill Paid | INR 53007.13
A
S.NO | Equipment Required | Cost in INR
1 | Number of Solar panels required. | 34845.75
2 | Power Rating for Inverter.
3 | Number of Batteries required for 8 hours backup.
4 | Net Meter .
5 | Wires
6
B | Number of Solar panels required.
| p = vi | 12 x 40
480 Watts
| 480/60 | 8 Panels of 60 Watts
| 480/100 | 4.8 i.e 5 panels
| 480/160 | 3 Panels
| 480/220 | 2 Panels OR 1 Solar panel of 220 Watts
Total number of Required Panels = 480 / Wattage of Panel.
We will connect 2 Solar Panels (each of 220W,12V,5A) in parallel.
C | Calculate DC Load Which will be connected to the Solar system.
TP-Link TL-WA850RE 300Mbps Universal Wi-Fi Range Extender (White)